# San Juan County Building Permit Checklist

IMPORTANT:

A building permit must be obtained before beginning any construction. Failure to do so may result in additional fees.

WHEN A PERMIT IS REQUIRED:

- • New construction

- • Moving a trailer or pre-built home onto a lot

- • Additions or remodeling

REQUIRED FOR APPLICATION:

- Complete set of plans drawn to scale

- Legal description and parcel number

- Approved sewage system

- Road encroachment permit

- Completed permit application (signed)

- Owner/Builder certification (if applicable)

- Contractor information and licenses

- Proof of property ownership or notarized permission (Tax Roll or Title Report)

RECOMMENDED FOR OWNERS:

- Written bid or estimate

- Signed construction contract

- Proof of contractor liability insurance

INSPECTIONS (48-hour notice required):

- Foundation Inspection

- 4-Way Inspection (Framing, Electrical, Plumbing, Mechanical)

- Final Inspection (before occupancy)

- Septic Inspection (if applicable)

PLAN REQUIREMENTS:

- Site Plan

- Building Elevations

- Architectural Plans

- Foundation Plan

- Framing Plan

- Roof Plan

- Electrical Layout

- Plumbing Layout

- Mechanical Layout

- Additional construction details

CONTACT:

San Juan County Building Department

Corey Coleman Building Official

Phone: (435) 587-3829

Email: permits@sanjuancountyut.gov

Website: https://sanjuancountyut.gov/building (apply and pay for permits here)